Virginia Beach Department of Public Health

Office of Environmental Health

4452 Corporation Lane

Virginia Beach, VA 23462

(757) 518-2700

FAX (757) 518-2642

Food Establishment Plan Review Packet Checklist (revised 12/2024)

You may keep pages 14-24

Required Documentation

☐ Plan Review Application and $40.00 Plan Review Fee (submit page 2)

☐ Plan Review Questionnaire (submit pages 3-12)

☐ Menu (include seasonal menu items, off-site, banquet, and special edition menus)

☐ Facility floor plan- drawn to scale showing the location of all operational amenities including location of indoor kitchen equipment, outdoor equipment such as dumpsters, well/septic system, grease receptacles, plumbing connections, electrical, and mechanical ventilation system, food preparation, and storage areas.  Floor plans MUST be legible and large enough to read.

☐ Manufacturer specification sheets (cut sheets) for all equipment, including hot water heaters and mechanical dish machines

☐ Copy of Certified Food Protection Manager Certificate(s)

☐ Copy of Employee Health Policy, Allergen Awareness Policy, Bodily Fluid Clean Up Policy, and/or Special Processes procedures, if applicable.

We recommend that you submit plans/applications to the following authorities, if applicable:

☐ Virginia Beach Zoning and Planning Department (757) 385-4621 main number     ☐ Virginia Alcoholic Beverage Licensing Office (757) 424-6700

  - Permits and Inspections (757) 385-4211

  - Plumbing Department (757) 385-8066

  - Electrical Department (757) 385-8070

  - Mechanical Department (757) 838-8065

  - Fire Marshal Department (757) 385-8769) for the signed Certificate of Occupancy

  - Building Code Enforcement (757) 385-8060

*Contact the Commissioner of Revenue (757) 385-4251 after you have received your Plan Review Approval letter to apply for the business license.

APPLICATION FOR FOOD SERVICE PLAN REVIEW

Complete and attach the following required items:  $40.00 fee, Plan Review Questionnaire, Copy of Menu, Equipment Specifications, and a legible facility floor plan.

THE SUBMISSION OF THIS APPLICATION DOES NOT CONSTITUTE PERMISSION TO OPERATE.

PLEASE ALLOW 30-45 DAYS FOR PLAN REVIEW APPROVAL.

DO NOT USE THIS APPLICATION FOR MOBILE TRUCKS, PUSHCART/TRAILERS, GHOST KITCHEN OR CATERER REQUESTS.

TYPE OF PERMIT:

☐ New Construction

☐ Existing Establishment with renovation/remodel changes, major changes in equipment, plumbing connections, and/or changes in menu (Former Establishment Name:  _______________________________________________)

TYPE OF OPERATION:

☐ 󠆨Full-Service Restaurant	☐ 󠆨Carry Out		☐󠆨 Commissary Only		☐󠆨 School

☐ Highly Suspectable Population (childcare, assisted living)

*******************PLEASE PRINT LEGIBLY.  DO NOT LEAVE ANY AREAS BLANK.******************

Establishment Name:  ______________________________________________________________________________

Establishment Address: _____________________________________________ Virginia Beach, VA   Zip __________

Establishment Phone: ____________________________

Manager/Person in Charge Name:  ___________________________________ Manager Phone #:  ________________

Certified Food Protection Manager Name: ______________________________   Expiration Date: _______________

Is this food establishment located in a hotel/motel:  ☐ 󠆨󠆨No   ☐ Yes, name of hotel/motel: ______________________

ADDRESS BELOW MUST BE DIFFERENT THAN ESTABLISHMENT ADDRESS

▼          ▼          ▼          ▼          ▼

Owner/ Corporation/ LLC Name:  __________________________________________	Phone:  _________________

Address: ________________________________________________   City, State/Zip: ___________________________

Email:  _________________________________________________________

Type of Water/Sewage Supply:  ☐ 󠆨󠆨Well Water (PWSID # _______________)   	☐ 󠆨󠆨Septic System 󠆨

☐ City Water					 ☐ 󠆨City Sewage

ALL FEES ARE NON TRANSFERABLE AND NON REFUNDABLE.

I/we attest to the accuracy of the information provided, affirm to comply with the Regulations of the Health Department and understand that after the requested Permit is issued, the Commissioner of Health or their authorized representative(s) shall have the right to enter the premises of this establishment at any reasonable time to inspect, conduct tests or collect samples as required/needed. I/we further agree to accept notices issued and served by the regulatory authority.   Please note that this office reserves the right to deny the application if not properly completed, or facility is not in compliance with current food regulations. Food Regulations are available at http://www.vdh.virginia.gov/virginia-beach/environmental-health/ .

______________________			_______________________			________________

Name of Applicant				Signature of Applicant				Date

Plan Review Questionnaire

To be completed by the food establishment operator.

This Plan Review Questionnaire must be completed in its entirety and submitted with all required documents to the Virginia Beach Department of Public Health (VBDPH) to be considered for approval.  If you need assistance completing this questionnaire or have additional questions, please call (757) 518-2700, option 3.

You can access the food regulations at http://www.vdh.virginia.gov/virginia-beach/environmental-health/ .

General Information:

- Projected opening date: ________________		​☐ Yearly	☐ Seasonal

  - Number of Seats: ____________________________

  - Maximum number of meals to be Served: (ex: 10) Breakfast _____Lunch _____Dinner_____

  - Projected Date for Start of Project (if new facility): __________________________________

  - Projected Date for Completion of Project: ___________________________

- Who is/are the Certified Food Manager(s)? Attach a copy of the certificate(s).

Name ______________________________Certification No.___________ Expiration ____/____/_____

Name ______________________________Certification No.___________ Expiration ____/____/_____

- What is the facility’s proposed smoking status: (check one)?

☐ Smoke Free		☐ Smoking designated indoor area		☐ Smoking outside only

*If smoking is allowed in a designated area, please apply to the local building officials for approval of a separate ventilation system for this area.

- Type of service (check one):

☐ Table Service (Dine-In available) 	☐ Carry-Out Only	☐ Fast Food		☐ Other: _________

☐ Buffet Style (A sneeze guard MUST be installed for food on display at all buffet areas.)

- Source of Potable Water:

☐ Public System		☐ Private Well

*If using a private well, a copy of the current water test results must be submitted.

- Sewage System:

☐ Public System		☐ Private Septic System

*If using a private system, a copy of septic records must be submitted.

- Will the facility serve food to a highly susceptible population (HSP)?

HSPs are facilities that serve preschool-aged children or older adults such as child or adult daycare centers, or those with compromised immune systems such as custodial care, health care, assisted living, hospitals, nursing homes, senior centers, etc.

☐ Yes		☐ No

Food Source and Storage:

- Please list all food suppliers (including all vendors, distributors, bakery, etc.):

________________________________________________________________________________________________________________________________________________________________________

- What are the projected frequencies of deliveries for:

  - Frozen Foods: _______________________

  - Refrigerated Foods: ___________________

  - Dry Goods: _________________________

- How will you prevent food items from being stored on the floor? ___________________________________________________________________________________ ___________________________________________________________________________________

- Are food storage containers made of food-grade materials to store bulk products?

☐ Yes		☐ No

Indicate the type of containers used: ___________________________________________________________________________________

- Describe how food items will be inspected for damage upon delivery. What is the plan of action if food items are damaged or adulterated: ____________________________________________________________________________________ ________________________________________________________________________________________________________________________________________________________________________

Preparation Review:

- Are you using any raw food items as an ingredient? (Example: raw burger patties, poultry, seafood, etc.)

☐ Yes		☐ No

- Are raw meats, poultry, and seafood stored in the same refrigerator as cooked or ready-to-eat foods?

☐ Yes	☐ No

If yes, how will you prevent cross-contamination: ____________________________________________________________________________________ ____________________________________________________________________________________

- Are raw or undercooked food of animal origin offered on the menu, such as sushi, tartare, ceviche, raw shellfish, eggs, steaks, and/or ground meats?

☐ Yes		If yes, a consumer advisory statement is required to be printed on the menu. Please 			review the menu with the inspector before printing the final copy.

☐ No

- Does this facility plan to conduct any special processes on-site? (Check all that apply)

Special processes require a variance.  Variance applications must be approved before the procedure is put into practice.

☐ Sprouting seeds or beans

☐ Fermentation of sausages or custom processing of meat

☐ Vacuum packaging food or canning

☐ Smoking or curing of meat, poultry, or fish for preservation (i.e., jerky)

☐ Packaging unpasteurized juices

☐ Molluscan shellfish or using a Support Tank (i.e., oysters, clams, mussels)

☐ Outdoor Cooking

☐ Other: _______________________________________________

☐ None of the above special processes

- Are raw animal products cooked using a non-continuous process? (Ex: Flash frying chicken wings to 125°F, cooling them down, and re-cooking them at a later time to 165°F)

☐ Yes, attach written procedures		☐ No

- Will this facility use any food additives?

☐ Yes		Please list all proposed food additives: ______________________________ 				If yes, are all food additives approved or Generally Recognized as Safe (GRAS)?

☐ Yes	☐ No

☐ No

Time/Temperature Control:

1.	Will you prepare any foods 4 hours or more in advance?  (Ex: soup, homestyle sauces, roast meats, 	stews, shredded chicken for pot pie, ground beef for chili)

☐ Yes	    	☐ No

If yes, please list all foods prepared more than 4 hours in advance of service:

___________________________________________________________________________________________

___________________________________________________________________________________________

Food items must cool from 135°F to 41°F within 6 hours (135°F to 70°F in 2 hours or less, then from         	   70°F down to 41°F in 4 hours or less). When mixing ingredients at room temperature, products must 	be cooled to 41°F for no less than 4 hours such as pasta salad, tuna salad, etc.

If yes, please indicate specific food products and the proper cooling methods used:

| Name of Food Product | Shallow Pans | Ice Bath | Reduce Volume/Size | Blast Chiller | Other (describe) |
| --- | --- | --- | --- | --- | --- |

2.  Describe the procedures used to minimize the length of time TCS foods will be kept in the danger zone                                       (41 °F-135°F) during preparation:  ____________________________________________________________________________________________________________________________________________________________________________________

3.  Do you plan to reheat any food items?

All parts of the food must reach an internal temperature of at least 165°F for 15 seconds in under two                  	    hours.

☐ Yes	If yes, how will TCS foods that were previously cooked and cooled be reheated for hot holding?

Explain: ______________________________________________________________________

☐ No

4.  Do you plan to use the three-compartment sink for food preparation?

☐ Yes 	If yes, describe the procedure for cleaning and sanitizing the sinks between uses:

Explain:  ___________________________________________________________________________

☐ No

5.  Do you plan to thaw food items?	  ☐ Yes		  ☐ No

If yes, please indicate how you plan to thaw TCS foods by checking the appropriate boxes below:

| Approved Thawing Method | Thick Frozen Foods (> 1") | Thin Frozen Foods (< 1") |
| --- | --- | --- |
| Refrigeration (41°F or less) |  |  |
| Under cold running water (70°F or less) |  |  |
| Microwave (immediately cook after) |  |  |
| Cooked from frozen state |  |  |

Equipment

- Please indicate how many units are present:

Walk-In Cooler __________	Upright Cooler __________	Under Counter__________

Sandwich Prep Unit __________	Other__________

- Does each refrigeration unit have an ambient air thermometer?	☐ Yes 		☐ No

- Please indicate the quantity of each type of freezer unit:

Walk-In Freezer __________	Upright Freezer __________	Chest __________	Other __________

- Do you have a probe thermometer to monitor internal food temperatures? (digital probe thermometer is preferred)

☐ Yes		☐ No

Ventilation:

- Are the kitchen operational areas and the hood system properly vented and approved by the Fire Marshal?

☐ Yes		☐ No

- How is the ventilation hood system cleaned? How often and by whom? __________________________ ____________________________________________________________________________________

Employee Training:

- How are food employees trained in food allergens and food sanitation practices? How Often? ________________________________________________________________________________________________________________________________________________________________________

- Where are these training records kept? ____________________________________________________

- Is there a written employee health policy to exclude or restrict food workers who are ill or have infected cuts, burns, or lesions?

☐ Yes, attach the written policy		☐ No

Water Supply:

- Please provide the brand name and capacity of the water heater:

make/model ________________________  / # _________________ gallons

- Is this capacity enough to meet needs during peak usage?

☐ Yes		☐ No

- Is there a water treatment device? 	☐ Yes   ☐ No

If yes, how are the device/filters inspected & serviced? (2330) _______________________________

- How are the backflow prevention devices inspected and serviced? (2210/2330) __________________

__________________________________________________________________________________

Handwashing:

- Provide the number of handwashing sinks, with a mixing valve capable of 100°F minimum hot and cold running water, in each location:

_____ Food Preparation area	     _____ Cook Line area      _____ Service Line / Dispensing area

_____ Bar (not including dump sink)		_____ Toilet rooms	 _____ Warewash area

Total # of Hand Sinks:  _____________	Please indicate the location of all hand sinks on the floor plan.

- Do you plan to use automatic (motion-activated) faucets?

☐ Yes		If so, are the faucets capable of providing a flow of water at a minimum of 85°F for at 			least 15 seconds without reactivating? 	☐ Yes		☐ No

☐ No

- Will all handwashing sinks be supplied with hand soap, hand drying provisions such as paper towels or air blowers, and waste receptacles?

☐ Yes		☐ No

- Are handwashing signs posted at all hand sinks used by food employees?

☐ Yes		☐ No

Toilet Facilities:

- Are all toilet room doors self-closing?

☐ Yes		☐ No

- Are all toilet rooms equipped with adequate ventilation?

☐ Yes		☐ No

Plumbing:

- Are floor drains or floor sinks present in the kitchen and/or bar area?

☐ Yes, mark on floor plans		☐ No

Describe locations, are they easily cleanable?  ____________________________________________________________________________________

- Is a grease storage receptacle installed?

☐ Yes, mark location on floor plan

If yes, describe the location of the grease storage receptacle (Ex: indoor, outdoor, underground, etc.), capacity in gallons, the servicing schedule, and the company responsible for the maintenance of the receptacle:

location:  _________________________________________	size: ___________________ gallons service schedule:  ____________________________________	maintenance:  _________________

☐ No

- Is a mop sink installed:

☐ Yes, mark location on floor plan		If yes, is a chemical dispensing system installed to the 							water outlet?			☐ Yes			☐ No

If yes, is a preventative backflow device installed to 	prevent back siphonage?

☐ Yes			☐ No

☐ No

- Is there an area for mops to be hung to air dry?		☐ Yes		 ☐ No

- Plumbing Connections:  Please check where appropriate.

|  | Air Gap | Air Break | Integral Gap | P Trap | Vacuum Breaker | Condensate Pump |
| --- | --- | --- | --- | --- | --- | --- |
| Ice Machines |  |  |  |  |  |  |
| Handwash sink |  |  |  |  |  |  |
| Food Prep Sink |  |  |  |  |  |  |
| 3 compartment sinks |  |  | Three-compartment sinks MUST have an air gap or air break connection. |  |  |  |
| Steam tables |  |  |  |  |  |  |
| Dipper wells |  |  |  |  |  |  |
| Refrigeration lines |  |  |  |  |  |  |
| Mop Sink / Hose connection |  |  |  |  |  |  |
| Service sink |  |  |  |  |  |  |
| Beverage dispenser |  |  |  |  |  |  |
| Other: ________ |  |  |  |  |  |  |

Trap: A fitting or device that provides a liquid seal to prevent the emission of sewer gases without materially affecting the flow of sewage or wastewater through it. An integral trap is one that is built directly into the fixture, e.g., a toilet fixture. A “P” trap is a fixture trap that provides a liquid seal in the shape of the letter “P”. Full “S” traps are prohibited.

Warewashing:

- Are the 3-compartment sinks large enough to accommodate your largest piece of equipment?

☐ Yes

☐ No		If no, explain how equipment will be washed/rinsed/sanitized: ________________________________________________________________________________________________________________________________________________________________________

- How will food preparation or cooking implements such as large pans, large bowls, slicers, large cutting boards, or other food contact devices which cannot be submerged in sinks, or placed in a dish machine be sanitized?_________________________________________________________________________  ______________________________________________________________________________________________________________________________________________________________________

- What type of sanitizer is used at the 3-compartment sink?

☐ Chlorine (concentration ___________)

☐ Quaternary Ammonium Compound (concentration ___________)

☐ Hot Water (temperature range _____________)		☐ Iodine

- Do you possess the corresponding sanitizer test strip kits for checking the proper concentration and temperature levels?

☐ Yes		☐ No

- Are drainboards installed at the three-compartment sink to accommodate for clean and soiled items? Soiled and clean items must be stored separately.

☐ Yes	  	If yes, are drainboards large enough to accommodate ALL soiled and cleaned items?

☐ Yes		☐ No

Is there adequate space for air drying of utensils, glasses, cups, plates, etc.?

☐ Yes		☐ No

☐ No

- Does the facility have a dish machine in the kitchen?

☐ Yes		If yes, list make/model _____________________________________

check one:	☐ LOW temperature (chlorine sanitized)

☐ HIGH temperature (hot water sanitized)

☐ No

- Does the facility have a dish machine or glasswasher at the bar?	☐ N/A

☐ Yes		If yes, list make/model _____________________________________

check one:	☐ LOW temperature (chlorine sanitized)

☐ HIGH temperature (hot water sanitized)

☐ No

- Does the dish machine or glasswasher have a visual or audible alarm to verify when the detergent and/or sanitizer are running low?

☐ Yes		☐ No		☐ N/A

- Do all dish machines possess a data plate or placard with the manufacturer operating instructions?

☐ Yes		☐ No 		If no, attach the written manufacturer specifications

Facilities:

- Are outer openings such as entry doors, exit doors, and windows tight fitting, self-closing, and have provisions in place to prevent the entry of pests?

☐ Yes		If yes, describe the method used and location of each. (Ex: air curtain/blower, #16 mesh 			screen door): ______________________________________________________

☐ No

- Finish Schedule:  Please indicate the type of surface materials that will be used in the following areas:  (Ex: quarry tile, stainless steel, vinyl molding, semi-gloss paint, flame retardant panels, etc.)

Surface material must be smooth, nonporous and easily cleanable.

| Area | Floor | Walls | Ceiling | Coving |
| --- | --- | --- | --- | --- |
| kitchen |  |  |  |  |
| bar |  |  |  |  |
| dry food storage |  |  |  |  |
| other storage |  |  |  |  |
| toilet rooms |  |  |  |  |
| dressing rooms |  |  |  |  |
| mop/service sink |  |  |  |  |
| warewashing |  |  |  |  |
| walk-In cold holding units |  |  |  |  |

- Will a dumpster be used?

☐ Yes		If yes, quantity: __________	size: __________	frequency of pickup: __________

Describe the location of the dumpster(s) and the ground surrounding the area:  ________________________________________________________________________________________________________________________________________________

☐ No

- Are waste receptacles durable, easily cleanable, rodent-resistant with lids and drain plug(s)?

☐ Yes		☐ No

- Is there an area designated for cleaning of the waste receptacles and/or floor mats?

☐ Yes		☐ No

- Are all pipes & electrical conduit chases related to the ventilation system exhaust, intake protectors, and plumbing connections sealed? 	☐ Yes		☐ No

- Has a state-licensed certified pest operator been contacted to conduct pest control operations at the facility?  Unlicensed individuals are not permitted to provide pest control treatments within the food operational space.

☐ Yes		If yes, name the company:  _________________________________________________

☐ No

- Is the facility and the surrounding external areas clear of unnecessary brush, trash, litter, boxes, and/or harborage materials?

☐ Yes		☐ No

- Are linens laundered on-site?

☐ Yes		☐ No	     If not, where will they be laundered? ________________________________

- Is there an area for employees to change and store personal items in the facility?

☐ Yes, describe: _____________________________________________________________________

☐ No

- Describe where employees will eat, drink and take their breaks: ________________________________  ____________________________________________________________________________________

- Describe the storage location for all toxic chemicals including personal medication.  These items must be stored away from food, utensils, equipment, linen, and single service items including food service areas. ___________________________________________________________________________________

___________________________________________________________________________________________

- SMALL EQUIPMENT REQUIREMENTS

Please specify the number, location, and types of each of the following:

a. Slicers __________________________________________________________________________________

b. Cutting boards ____________________________________________________________________________

c. Can openers ______________________________________________________________________________

d. Mixers __________________________________________________________________________________

e. Floor mats ________________________________________________________________________________

f. Other ____________________________________________________________________________________

AS A CONDITION FOR RECEIPT OF THE PERMIT I AGREE TO:

- Read and be familiar with the laws, orders, rules and regulations, etc. governing the handling of food in the Virginia Beach Health District.

- Abide by the conditions of such laws, orders, rules, regulations, etc.

- Freely permit an authorized agent of the Virginia Department of Health to inspect the premises under my control and at such time to take samples there from as many be necessary.

- Immediately discontinue operations and notify the regulatory authority if an imminent health hazard may exist because of an emergency such as a fire, flood, extended interruption of electrical or water service, sewage backup, misuse of poisonous or toxic materials, the onset of an apparent foodborne illness outbreak, gross unsanitary occurrence or condition, or other circumstance that may endanger public health.

I FURTHER UNDERSTAND THAT:

- Health Department food establishment permits must be renewed annually with a permit fee that must be submitted 30 days prior to the existing permit expiration.

- Permits cannot be transferred from one operator to another or from one location to another.  The Health Department must be notified of any sale or change of ownership.

- Permits are subject to revocation for just cause.

- The Health Department must be notified when the applicant ceases to be responsible for the establishment.

- All food establishment employees in the Virginia Beach Health District are required by local ordinance to have a Certified Food Manager present at least 8 hours a day during operation.

- If any menu changes occur, your local Health Department must be notified.

- The Health Department must be notified of plans to expand or modify the establishment prior to making changes.

Approval of these plans and specifications by the Virginia Beach Department of Public Health does not indicate compliance with any other code, law, or regulation that may be required- federal, state, or local. It further does not constitute endorsement or acceptance of the completed establishment (structure or equipment). A pre-opening inspection of the establishment with equipment in place & operational will be necessary to determine if it complies with the local and state laws governing food service establishments.

STATEMENT: I hereby certify that the above information is correct, and I fully understand that any deviation from the above without prior permission from the Virginia Beach Department of Public Health may nullify final approval.

Applicant’s Name (print): ___________________________________________

Applicant’s Signature: _______________________________________________     Date:  _____/____/_____

CONTENTS OF PLANS AND SPECIFICATIONS MUST INCLUDE:

- Provide plans that are a minimum of 11 x 14 inches in size including the layout of the floor plan accurately drawn to a minimum scale of 1/4 inch = 1 foot.

- Include the proposed menu, seating capacity, and projected daily meal volume for food service operations.

- Show the location and when requested, elevated drawings of all food equipment. Each piece of equipment must be clearly labeled on the plan with its common name. Submit drawings of self-service hot and cold holding units with sneeze guards.

- Designate the equipment used for adequate rapid cooling, including ice baths and refrigeration, and for hot-holding potentially hazardous foods.

- Label and locate separate food preparation sinks when the menu dictates to preclude contamination and cross-contamination of raw and ready-to-eat foods.

- Clearly designate adequate hand washing lavatories for each toilet fixture and in the immediate area of food preparation.

- Provide the room size, aisle space, space between and behind equipment, and the placement of the equipment on the floor plan.

- On the plan represent auxiliary areas such as storage rooms, garbage rooms, toilets, basements, and/or cellars used for storage or food preparation. Show all the features of these rooms.

- Include and provide specifications for

  - Entrances, exits, loading/unloading areas, and docks;

  - Complete finish schedules for each room including floors, walls, ceilings, and coved juncture bases;

  - Plumbing schedule including the location of floor drains, floor sinks, water supply lines, overhead waste-water lines, hot water generating equipment with capacity and recovery rate, backflow prevention, and    wastewater line connections;

  - Lighting schedule with protectors;

    - At least 110 lux (10-foot candles) at a distance of 75cm (30 inches) above the floor, in walk-in refrigeration units and dry food storage areas and in other areas and rooms during periods of cleaning;

    - At least 220 lux (20-foot candles):

      - At a surface where food is provided for consumer self-service such as buffets and salad bars or where fresh produce or packaged foods are sold or offered for consumption;

      - Inside equipment such as reach-in and under-counter refrigerators;

      - At least 540 (50-foot candles) at a surface where a food employee is working with food or with utensils or equipment such as knives, slicers, grinders, or saws where employee safety is a factor.

    - Food Equipment schedule to include make and model numbers and listing of equipment that is certified or classified for sanitation by an ANSI or NSF (as applicable).

    - Source of water supply and method of sewage disposal. Provide the location of these facilities and submit evidence that state and local regulations are complied with;

    - A mop sink or curbed cleaning facility with facilities for hanging wet mops;

    - Garbage can washing and mat washing area/facility;

    - Toxic chemicals storage area;

    - Dressing rooms, locker areas, employee rest and dining areas, and/or coat rack as

FOOD ESTABLISHMENT FLOOR PLAN SAMPLE

Opening Inspection Checklist

☐ Food thermometer 0°F-220°F

☐ Ambient air thermometers in all refrigeration units

☐ All refrigeration units are operating at the correct temperature of 41°F or below for proper cold-holding

☐ Three-compartment sink dish detergent and sanitizer

☐ Applicable sanitizer test strips

☐ Chlorine test strips for chlorine-based sanitizer (i.e., unscented bleach)

☐ Quaternary test strips for multi-quat sanitizer (i.e., ammonium chloride)

☐ Thermolabels or a maximum registering holding thermometer for high heat sanitizing dish machine

☐ All hand sinks provided with:

☐ Hot water (at least 100°F)

☐ Soap

☐ Drying provisions

☐ Employees Must Wash Hands sign

☐ Certified Food Manager certificate available at the facility during inspection

☐ Employee illness reporting forms completed

☐ Employee allergen awareness information

☐ Dumpster/trash cans available on non-absorbent surface

☐ Lighting intensity required. 12VAC5-421-3080 lighting intensity

☐ Lighting at least 10ft candles in walk-in cooler and dry food storage?

☐ Lighting at least 20ft candles in salad bar, reach-in coolers, warewash area, bar, and toilet rooms?

☐ Lighting at least 50ft candles where employee safety is a factor? (slicers, knives, grinder)

☐ Proper grease disposal, if applicable

☐ Mop sink

☐ Restrooms

☐ Women’s restroom has a covered waste receptacle (trash can lid)

☐ Self-closing doors

☐ All doors and windows open to the outside are self-closing and vermin-proof (i.e. drive-thru window); screens are 16 mesh/inch

☐ Walls and ceilings in restrooms and food prep and utensil washing areas are to be smooth, easily cleanable, and non-absorbent materials

☐ “No Smoking” sign must be visible

☐ All food from an approved source

☐ Menu with correct consumer advisory, if applicable

☐ Proper documentation (i.e., parasite destruction) from the supplier must be provided if serving raw or undercooked fish, if applicable

NOTE: All inspections by Permits and Inspections must be completed and a Certificate of Occupancy must be issued before the restaurant can serve the public.

VIRGINIA BEACH DEPARTMENT OF PUBLIC HEALTH

FOOD ESTABLISHMENT CONSTRUCTION AND EQUIPMENT SPECIFICATIONS

The following are food establishment construction and equipment specifications as required by the Commonwealth of Virginia Board of Health Food Regulations, 12 VAC 5-421, (REGULATIONS). If you have any questions regarding these requirements please contact the Virginia Beach Department of Public Health, Office of Environmental Health at (757) 518-2646. The REGULATIONS are available at www.vdh.virginia.gov (Select VDH Programs, then Environmental Health Services, then Food and General Environmental Services) OR http://www.vdh.virginia.gov/virginia-beach/environmental-health/

WATER, SEWAGE, AND GARBAGE

Sufficient water from an approved water supply must be provided to meet the needs of the food service establishment (2120, 2050).

All sewage must be disposed of by a public sewerage system or by a sewerage disposal system constructed and operated in accordance with applicable laws and regulations (2570).

Suitable facilities are to be provided for the cleaning of all garbage containers. Hot water and detergent, or steam must be provided and used for washing containers. Liquid waste from compacting or cleaning operations must be disposed of in the approved sewerage disposal system. Disposal into storm drain systems is not approved (2570, 2670).

Garbage and refuse containers, dumpsters, and compactor systems located outside are to be located on a smooth surface of non-absorbent material such as concrete or machine-laid asphalt. These surfaces must be graded to drain (2600).

The walking and driving surfaces of all exterior areas of the food facility are to be surfaced with concrete, asphalt with gravel, or similar material effectively treated to facilitate maintenance and minimize dust. These surfaces must be graded to prevent the pooling of water and kept free of litter (2970).

WALLS, FLOORS, AND CEILINGS

Ceilings of food preparation and storage areas, equipment washing and utensil washing areas, bar areas, toilet rooms, and vestibules are to have smooth, non-absorbent, and easily cleanable surfaces. If ceiling tiles or panels are called for, then smooth, vinyl-faced tiles must be utilized. Color choices other than white for bar and toilet rooms may be considered but must have prior approval (2790, 2830).

Studs, joints, and rafters cannot be exposed in areas subject to moisture (2880).

Walls in food preparation areas are to be smooth and easily cleanable. Acceptable materials include marlite, ceramic tile, or fiberglass-reinforced panels.  Drywalls may be utilized if painted with moisture-proof, washable paint such as enamel or epoxy (2790, 2810).

Wall-mounted equipment such as sinks shall be sealed at the wall (1550).

Masonry block walls in food preparation areas are to be made smooth prior to painting. An application of keen cement to cover strike lines and imperfections is recommended. The finished wall must be cleanable (2810).

Floors in food preparation areas are to be smooth and easily cleanable. Acceptable materials include vinyl composition tiles or quarry tiles. Other materials may be considered but would need prior health department approval (2810).

Floor-wall junctures are to be coved and sealed (2830).

Mats and duckboards must be of non-absorbent, grease-resistant materials and such size, design, and construction as to facilitate their being easily cleaned (2850).

Utility service lines and pipes shall not be unnecessarily exposed on walls, ceilings, or on floors, in walk-in refrigeration units, food preparation and storage areas, equipment, utensil washing areas, toilet rooms, or vestibules (2820).

Protection against insect and rodent entry to the facility shall be provided through the use of tight-fitting, screened, self-closing doors that open outward, controlled air currents, or other approved means. Drive-up and pass-through windows must be tight-fitting and self-closing (2930).

FOOD SERVICE EQUIPMENT

Floor-mounted equipment that is not readily moveable shall be sealed to the floor or elevated on legs to provide a six-inch (6") clearance (1560).

Unless sufficient space is provided for easy cleaning between, behind, and above each unit of fixed equipment, these spaces shall be sealed (1550).

Counter-mounted equipment that is not easily moveable shall be sealed to the counter or elevated on legs to provide a four-inch (4") clearance. The sealant must be non-toxic and food-grade (1560).

Beverage tubing and cold plate beverage cooling devices may not be installed in contact with stored ice. This section does not apply to cold plates that are constructed integrally with an ice storage bin (1260).

STORAGE AND SERVING FACILITIES

Shelving for food storage and utensil storage must provide a minimum of six inches (6") of clearance from the floor (1560).

If employees routinely change clothes within the establishment, rooms or areas are to be designated and used for that purpose. Lockers or other facilities shall be provided for orderly storage of employee clothing and other possessions (3100).

Sneeze guards shall be designed and installed to adequately protect food from customer contamination (650).

Separate rooms must be provided for laundry facilities (1540).

All refrigeration equipment must be capable of maintaining food at 41°F or less.

VENTILATION

Hoods and fire suppression systems shall be in accordance with local and state codes.

All rooms, including storage areas, shall have sufficient ventilation to keep them free of excessive heat, steam, condensation, vapors, obnoxious odors, smoke, and fumes (1480, 3090).

THREE-COMPARTMENT SINK

A three-compartment sink is needed and shall be adequately sized to handle the largest utensils and equipment that will be used. Drainboards are to be provided on each end of the sink. The sink must be equipped so that hot and cold running water is available to each compartment through an approved spigot. Tables of sufficient size and utensil racks may be substituted for drain boards (1460, 1470).

If the three-compartment sink is used as a culinary sink (for food preparation such as washing produce and thawing frozen foods) there cannot be a direct waste line connection. An air gap must be provided (2260).

HAND SINKS AND MOP SINKS

Hand sinks are to be accessible and conveniently located in all food preparation areas, food dispensing areas, and all utensil-washing areas (2280, 2310, 3240).

Each hand sink must be provided with hot and cold water tempered by means of a mixing valve or combination faucet. A self-closing, slow-closing, or metering faucet shall provide a flow of water for a minimum of 15 seconds (2190).

Soap dispensers and hand towel dispensers or proper, heated air-drying devices are to be conveniently located next to all hand sinks in the kitchen and toilet rooms. If disposable towels are used, easily cleanable waste receptacles are to be located near the hand washing facilities (2650, 3020, 3030, 3050).

A sign or poster that notifies food employees to wash their hands shall be provided at the hand sink (3045).

Hand washing aids (soap dispensers, hand towel dispensers, waste receptacles) may not be located at warewashing sinks and prep sinks (3040).

A mop sink or curbed floor drain is required for sanitary disposal of mop water.  The mop sink is to be provided with hot and cold running water (2250, 3110).

TOILET ROOMS

Toilet rooms shall be in accordance with state and local building codes are to be mechanically vented to the outside atmosphere and shall have self-closing doors. Covered waste receptacles are required in women's toilet rooms (2660, 2920, 3090).

Toilet rooms must be conveniently located and easily accessible to employees. Toilet rooms intended for use by customers shall not necessitate travel through food service areas (food prep and handling areas or storage areas (70, 3130).

As established by building codes, food facilities that do not provide separate male and female public restrooms will be limited to fifteen (15) seats or less.

PLUMBING

All indirect waste piping for food sinks, refrigerator coils, walk-in freezers, ice bins, ice cream machines, steam kettles, steam tables, potato peelers, egg boilers, coffee urns, and similar equipment shall discharge through an air gap or air break into a properly vented trap or vented receptor (2520).

Dishwashing machines shall discharge all drainage separately into a trap or trapped fixture. Ware washing sinks and ware washing machine waste drains may be directly connected to the sewage system if allowed by building code.

Vacuum breakers or backflow preventers are needed for all threaded faucets and any equipment such as soft drink systems and coffee makers that have a direct connection to the potable water supply line (2260, 2270).

An air gap between the water supply inlet and the flood level rim of the plumbing fixture, equipment, or non-food equipment shall be at least twice the diameter of the water supply inlet and may not be less than one inch (1") (2200).

An adequate supply of hot water (110° F.) is required. The water heater shall be sufficient to meet the peak hot water demands of the food establishment (2120).

Grease traps are to be located so that the unit is easily accessible for cleaning.

MECHANICAL DISH MACHINES

Only commercial dishwashing machines with the appropriate gauges are approved. The dishwashing machine must be operated according to the manufacturer's procedures (data plate) which have been approved by the FDA (1610).

Facilities for the proper storage of in-use utensils are required. Dipper wells are needed for hand-dipped ice cream, at rice steamers and other service areas where it is impractical to keep utensils in the food product.  In-use utensils may be stored in a container of water if the water is maintained at a temperature of at least 140° F. (550).

Chemical dish machines installed after the adoption of these regulations (March 1, 2002) must be equipped with a device that indicates audibly or visually when more chemical sanitizer is needed (1370).

LIGHTING

Fifty (50) foot-candles of light shall be provided at surfaces where food employees work with food or utensils/equipment such as knives, slicers, or grinders where safety is a factor as well as utensil and utensil washing areas (3080).

Twenty (20) foot candles of light shall be provided in areas where food is provided for customers' self-service, such as buffets and salad bars. Twenty (20) foot candles of light are required in reach-in and under-counter refrigerators (3080).

Ten (10) foot candles of light shall be provided in walk-in and dry food storage areas (3080).

All lights over, by, or within food storage, preparation, service, and display facilities, and facilities where utensils and equipment are cleaned and stored are to be shielded. This includes track lighting, recessed can fixtures, and decorative neon lighting (2890).

PERSON IN CHARGE/CERTIFIED FOOD SERVICE MANAGER

A Person in Charge who can demonstrate knowledge of foodborne disease prevention and the requirements of the Regulations is required to be present at the food establishment during all hours of operation (50, 60)

Virginia Beach City Code requires all food establishments to have a Certified Foodservice Manager on duty for a minimum of eight (8) hours for each day the establishment is open. The Certified Foodservice Managers may serve as the Person in Charge and must be registered with the Virginia Beach Department of Public Health at 518-2646.

The following certifications are accredited by the American National Standards Institute (ANSI) & the Conference of Food Protection.  There are a number of courses that are approved through the ANSI-CFP accreditation programs that are listed below.  These courses will meet the Virginia Department of Health Food Protection Program/regulation (12 VAC5-421-55)

- 360TRAINING.COM, INC.

888-360-8764

www.360training.com

- ABOVETRAINING/STATEFOODSAFETY.COM

801-494-1416

www.StateFoodSafety.com   and   support@statefoodsafety.com

- NATIONAL REGISTRY OF FOOD SAFETY PROFESSIONALS

800-446-0257 / 407-352-3830

www.nrfsp.com  Customer.Service@nrfsp.com

- NATIONAL RESTAURANT ASSOCIATION EDUCATIONAL FOUNDATION SERVESAFE

800-765-2122

www.servsafe.com  ServiceCenter@restaurant.org

- PROMETRIC, INC.

800-624-2736

http://prometric.com/foodsafety/default.htm

This list is not comprehensive nor a list of recommended courses.  For more information about ANSI ID number:

https://www.ansi.org/accrediation/credentialing/personnel-certification/food-protection-manger/ALLdirectoryListing?menuID=8&prgID=8&statusID=4

Contact the course provider for current information.  This is compiled for informational purposes only.  January 19, 2018.

The following are the approved Certified Food Protection Manager (CFPM) courses that are required for all food service establishments within the food protection program within the City of Virginia Beach.

PRESENTED FROM THE VIRGINIA BEACH DEPARTMENT OF PUBLIC HEALTH
4452 Corporation Lane, Virginia Beach, VA  23462
Phone Number: 518-2700

EMPLOYEE ILLNESS REPORTING REQUIREMENTS

EMPLOYEE MUST REPORT THE FOLLOWING TO A MANAGER OR SUPERVISOR

SYMPTOMS:

→	Sore throat with fever

→	Discharge from eyes, nose or mouth (sneezing or coughing excessively)

→	Unprotected cuts or infections

→	Diarrhea (loose stools or change in normal bowel movements)

→	Fever

→	Vomiting

→	Jaundice (yellowish eyes or skin) or dark colored urine (cola or tea colored)

IMPORTANT: SEND SICK EMPLOYEES HOME NOW

THE BIG SIX:

→	Salmonella Typhi (Typhoid fever)

→	Salmonella (non-typhoidal)

→	Shigella spp. (Dysentery)

→	E. coli (Shiga-toxin producing)

→	Hepatitis A Virus

→	Norovirus

- REPORT IF YOU, SOMEONE IN YOUR HOUSEHOLD OR A FELLOW EMPLOYEE HAS BEEN EXPOSED OR RECEIVES A BIG SIX DIAGNOSIS

OR IF YOU’VE HAD A PAST ILLNESS WITH ANY OF THE BIG SIX.

I agree to report my health status and activities that relate to food-borne illnesses.

EMPLOYEE NAME (PLEASE PRINT)	_________________________________

EMPLOYEE SIGNATURE		_________________________________ DATE ___________

PERSON IN CHARGE SIGNATURE	_________________________________ DATE ___________

EMPLOYEE HEALTH

Employees must report the following to a Manager or Supervisor

Symptoms:

| - Sore throat with fever - Discharges from eyes, nose, or mouth - Unprotected pustule lesions | - Diarrhea - Fever - Vomiting - Jaundice |
| --- | --- |
| Also report if you (or someone in your household) received a BIG SIX diagnosis, or if you ‘ve had a past illness with any of the BIG SIX. |  |
| THE BIG SIX: - Salmonella Typhi (Typhoid fever) - Salmonella (non-typhoidal) - Shigella spp. (Dysentery) - E. Coli (Shiga-toxin producing) - Hepatitis A Virus - Norovirus Remember: If you are sick, stay home! For any questions concerning restrictions or exclusions, please call the Virginia Beach Department of Public Health at (757) 518-2700 |  |